## Water
CITY OF POLOKWANE
CONTRACT RATES FOR TERM CONTRACTORS FOR WATER AND WASTEWATER MAINTENANCE
PRICED BILL OF QUANTITIES
SCHEDULE 1: DAYWORKS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
SCHEDULE 1: DAYWORKS
1 | DAYWORKS
1.1 | LABOUR
| a) Contractor's Representative- - (To attend site visits with client representative and for preparing and submitting quotations for approval , to ensure the implementation of on site work and timeous completion and to attend monthly site meetings at employers offices) | /hour | 1
| b) Foreman, | /hour | 1
| c) Qualified artisan (with Red Seal) | /hour | 1
| d) Boilermaker / Pipefitter / Welder | /hour | 1
| e) Labourer/General Assistant | /hour | 1
| f) Process controllers (water & wastewater treatment plants) | /hour | 1
| g) Labourer | /hour | 1
1.2 | PLANTHIRE: WORK RATES ON SITE (WET RATE)
| a) Tipper truck 5,5 m³ | /hour | 1
| b) Crane 20 t - 45 t capacity | /hour | 1
| c) Excavator 22 Ton capacity | /hour | 1
| d) 1,5 kVA diesel-driven generator set | /hour | 1
| 20% Percentage mark-up on items approved by the client or reprsentative with attached invoices for material | % | 1
TOTAL CARRIED FORWARD TO SUMMARY
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
SCHEDULE 02: WATER NETWORK MAINTENANCE
2 | Specialized Repair Crews & Labor
2.1 | Fixed Mobilisation Call-Out Fee: Allow for the transport, mobilization, and demobilization of the repair crew, tools, and machinery to any spot leak location on site:
| a) HDPE Fusion Crew Call-out per crew | No | 1
| b) Coded Steel Welding Crew Call-out per crew | No | 1
2.2 | Hourly Crew Rates: Provide an all-inclusive hourly rate for the specialized repair teams while actively performing on-site repairs, including all safety PPE and hand tools:
| a) Steel Welding Crew: (1x 6G Coded Pressure Welder + 1x Boiler Maker/Fitter + 2x Assistants) | Hr | 1
| c) HDPE Welding Crew: (1x Certified Fusion Technician + 2x Semi-skilled Assistants) | Hr | 1
| b) Plumbing Crew: (1x Pipe Fitter/Plumber + 2x Assistants) | Hr | 1
2.3 | Heavy Machinery Support for Leak Repairs
Machinery Hourly Rates: Provide an all-inclusive hourly rate for heavy machinery, including a certified operator, fuel, maintenance, and transport to spot locations:
| a)Tractor-Loader-Backhoe (TLB / Excavator), minimum 60kW engine power 4x4 | Hr | 1
| b) Mobile Dewatering Pump (minimum 3-inch diesel trash pump) including suction and discharge hoses. | Hr | 1
| c) Generator to power gridnders and lights on site x1 | Hr | 1
| d) LDV ( Km measured from the nearest cluster office to site) | Km | 1
| e) 10 ton Crane Truck | Hr | 1
| f) 10 ton truck | Km | 1
| h) Automated Hydraulic Butt-Fusion Rig | Hr | 1
2.4 | Site Clearence
| a) Clear 3m wide vegetation and trees of girth up to 1m | m2 | 1
| b) Remove trees over 1 m and up to 2 m girth | No. | 1
2.5 | Excavation
2.5.1 | Excavation & Pipe Uncovering: Excavation in all classes of soil (including soft rock) to expose leaking pipelines, including stockpiling material 1m away from trench edges by machinery
| a) Depth range: 0.0m to 1.5m deep | m³ | 1
| b) Depth range: 1.5m to 3.0m deep | m³ | 1
2.5.2 | Excavation & Pipe Uncovering: Excavation in all classes of soil (including soft rock) to expose leaking pipelines, including stockpiling material 1m away from trench edges by hand labour intensive
| a) Depth range: 0.0m to 1.5m deep | m³ | 1
| b) Depth range: 1.5m to 3.0m deep | m³ | 1
2.5.3 | Trench Shoring & Safety Support: Supply, installation, and subsequent removal of temporary timber or steel trench shoring/struts to secure unstable trench walls for repair crews. | m2 | 1
2.5.4 | Bedding, Backfilling & Compaction: Backfilling around repaired pipes using selected granular material (free of rocks), ramming from trench excavations, and compacting in layers of 150mm to 95% Mod AASHTO density. | m³ | 1
2.5.5 | Provision of Extra over bedding and backfilling material by importation from other necessary excavations (free haul within the village boundaries)
| a) Selected granular material | m³ | 1
| b) Selected fill material | m³ | 1
2.5.6 | Provision of Extra over bedding and backfill G5 material by importation (free haul within the Seshego and City boundaries) | m³ | 1
2.5.7 | Encasing of pipes in Class 19/20 concrete | m³ | 1
2.6 | FINISHING
2.6.1 | Reinstate surfaces, walkways and driver ways complete with:
| a) Gravel | m2 | 1
| b) Concrete slab 15/19Mpa | m2 | 1
| c) Paving | m2 | 1
| d) Supply and install Pipe maker | No | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
2.7 | Specialised sevices
2.7.1 | Specialized Pipeline Leak Detection Services
2.7.1.1 | Mobilization & Setup: Fixed rate for the mobilization of a specialized leak detection team, vehicles, and advanced diagnostic equipment to the site. | sum | 1
2.7.1.2 | Acoustic Surveying & Correlation: On-site pinpointing of leaks using digital acoustic ground microphones and electronic leak noise correlators
| a) Pipeline length up to 500 meters | sum | 1
| b) Pipeline length exceeding 500 meters | sum | 1
2.7.1.3 | Reporting & Marking: Provision of a comprehensive leak detection report pinpointing precise coordinates (GPS) and depth, including physical on-site paint markings over verified leak spots | sum | 1
2.7.2 | Underground Service and Utility Detection Surveys
2.7.2.1 | Mobilization & Setup: Fixed rate for the mobilization of a specialized utility survey team, dual-frequency GPR systems, and EML tracing equipment to the site | sum | 1
2.7.2.1.1 | Corridor/Route Utility Mapping: Continuous scanning and tracking of buried services along a defined pipeline or drilling route (up to a 5-meter wide swath):
| a) Route length up to 500 meters | No | 1
| b) Route length exceeding 500 meters | No | 1
2.7.2.1.2 | Area Utility Grid Mapping: Intensive grid-pattern scanning of defined open areas or intersections (e.g., HDD thrust pit locations or road crossing zones). | m2 | 1
2.7.2.1.3 | Utility Marking & CAD Reporting: Processing of raw scan data, physical on-site color-coded paint markings on the surface, and delivery of a 2D/3D CAD drawing matching international standards. | sum | 1
2.7.3 | CCTV Pipeline Camera Inspection and Condition Assessment
2.7.3.1 | Sewer & Drainage Line Inspection: Provide a motorized robotic crawler CCTV inspection for gravity sewer or drainage lines, including video recording, pan-and-tilt defect logging, and reporting:
| a) Pipe Diameter: 110 mm to 200 mm | m | 1
| b)Pipe Diameter: 250 mm to 450 mm | m | 1
2.7.3.2 | Potable Water Main Inspection: Provide a high-pressure, sterile push-rod or tethered camera inspection for potable water pipelines, including strict system disinfection:
| a) Pipe Diameter: 50 mm to 110 mm | m | 1
| b) Pipe Diameter: 160 mm to 315 mm | m | 1
2.7.3.2.1 | Pre-Inspection Pipeline Cleaning: High-pressure water jetting or flushing of the internal pipe profile to clear debris, silt, and roots prior to camera insertion. | m | 1
2.7.3.2.1 | Final Engineering Reporting: Provision of a comprehensive WinCan (or equivalent standard) data log report, digital video files, and structural integrity rating. | No | 1
2.7.3 | Horizontal Directional Drilling (HDD)
2.7.3.1 | Establishment & Plant Mobilization: Allow for mobilization to site and demobilization of specialized HDD rig, tracking electronics, bentonite mixing plant, and recycling systems. | sum | 1
2.7.3.2 | Trial Pits & Utility Detection: Excavation of trial pits by hand to visually locate and verify existing underground utilities (cables, water, gas) prior to drilling. | No | 1
2.7.3.3 | Thrust and Reception Pits: Excavation, shoring, dewatering, and later backfilling/compaction of entry (thrust) and exit (reception) pits for the drill rig. | No | 1
2.7.3.4 | Directional Drilling & Pipe Pulling: Pilot bore drilling, multi-stage reaming, and pulling of HDPE sleeve/carrier pipe beneath the road, including bentonite slurry management:
| a) Pipe Diameter: 110 mm HDPE (SDR 11) | m | 1
| b) Pipe Diameter: 160 mm HDPE (SDR 11) | m | 1
| c) Pipe Diameter: 200 mm HDPE (SDR 11) | m | 1
| d) Pipe Diameter: 315 mm HDPE (SDR 11) | m | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
2.7.5 | uPVC Pressure Pipes
2.7.5.1 | Supply, lay or cut to suite site, bed and test the following uPVC pressure pipes (conforming with SABS 946 Part 1 specifications) in 6m lengths, each pipe fitted at one end with socket for Mechanical jointing, in the following diameters:
| a) 630 mm dia Class 12 | m | 1
| b) 560 mm dia Class 12 | m | 1
| c) 500 mm dia Class 12 | m | 1
| d) 450 mm dia Class 12 | m | 1
| e) 400 mm dia Class 12 | m | 1
| f) 355 mm dia Class 12 | m | 1
| g) 315 mm dia Class 12 | m | 1
| h) 250 mm dia Class 12 | m | 1
| i) 200 mm dia Class 12 | m | 1
| j) 160 mm dia Class 12 | m | 1
| k) 110 mm dia Class 12 | m | 1
| l) 90 mm dia Class 12 | m | 1
| m) 75 mm dia Class 12 | m | 1
| n) 63 mm dia Class 12 | m | 1
| o) 50 mm dia Class 12 | m | 1
2.7.6 | HDPE Pipes
Supply, lay or cut to suite site, bed and test the following HDPE pressure pipes (conforming with SABS 946 Part 1 specifications) in 6m lengths above 110mm, each pipe fitted at one end with socket for Mechanical jointing, in the following diameters:
| a) 20 mm dia class 12 | m | 1
| b) 25 mm dia class 12 | m | 1
| c) 32 mm dia class 12 | m | 1
| d) 50 mm dia class 12 | m | 1
| e) 63 mm dia class 12 | m | 1
| f) 75 mm dia class 12 | m | 1
| g) 90 mm dia class 12 | m | 1
| h) 110 mm dia class 12 | m | 1
| i) 125 mm dia class 12 | m | 1
| j) 140 mm dia class 12 | m | 1
| k) 160 mm dia class 12 | m | 1
| l) 200 mm dia class 12 | m | 1
| m) 250 mm dia class 12 | m | 1
| n) 315 mm dia class 12 | m | 1
| o) 355 mm dia class 12 | m | 1
| p) 400 mm dia class 12 | m | 1
| q) 450 mm dia class 12 | m | 1
| r) 500 mm dia class 12 | m | 1
| s) 560 mm dia class 12 | m | 1
| t) 630 mm dia class 12 | m | 1
| u) 710 mm dia class 12 | m | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
2.7.7 | Male Adaptor (BSP threaded)
For supply,laying and bedding of compression fittings for use with HDPe Type IV pipes
| a) 75 DN x 65 BSP | No | 1
| b) 75 DN x 50 BSP | No | 1
| c) 63 DN x 50 BSP | No | 1
| d) 63 DN x 40 BSP | No | 1
| e) 50 DN x 50 BSP | No | 1
| f) 50 DN x 40 BSP | No | 1
| g) 40 DN x 50 BSP | No | 1
| h) 40 DN x 32 BSP | No | 1
| i) 32 DN x 32 BSP | No | 1
| j) 32 DN x 25 BSP | No | 1
| k) 25 DN x 25 BSP | No | 1
| l) 25 DN x 20 BSP | No | 1
| m) 20 DN x 25 BSP | No | 1
| n) 20 DN x 20 BSP | No | 1
| o) 20 DN x 15 BSP | No | 1
2.7.8 | Female Adaptor (BSP threaded)
| a) 75 DN x 50 BSP | No | 1
| b) 63 DN x 50 BSP | No | 1
| c) 50 DN x 50 BSP | No | 1
| d) 40 DN x 32 BSP | No | 1
| e) 40 DN x 25 BSP | No | 1
| f) 32 DN x 25 BSP | No | 1
| g) 25 DN x 25 BSP | No | 1
| h) 25 DN x 20 BSP | No | 1
| i) 20 DN x 20 BSP | No | 1
| j) 20 DN x 15 BSP | No | 1
2.7.9 | Equal tee
| a) 75 DN | No | 1
| b) 63 DN | No | 1
| c) 50 DN | No | 1
| d) 40 DN | No | 1
| e) 32 DN | No | 1
| f) 25 DN | No | 1
| g) 20 DN | No | 1
2.7.10 | Tee with female thread
| a) 75 DN x 65 BSP | No | 1
| b) 75 DN x 50 BSP | No | 1
| c) 63 DN x 50 BSP | No | 1
| d) 50 DN x 50 BSP | No | 1
| e) 50 DN x 50 BSP | No | 1
| f) 40 DN x 50 BSP | No | 1
| g) 40 DN x 40 BSP | No | 1
| h) 40 DN x 32 BSP | No | 1
| i) 40 DN x 25 BSP | No | 1
| j) 32 DN x 32 BSP | No | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| k) 32 DN x 25 BSP | No | 1
| l) 25 DN x 32 BSP | No | 1
| m) 25 DN x 25 BSP | No | 1
| n) 25 DN x 20 BSP | No | 1
| o) 25 DN x 15 BSP | No | 1
| p) 20 DN x 20 BSP | No | 1
| q) 20 DN x 15 BSP | No | 1
2.7.11 | Male elbow
| a) 63 DN x 50 BSP | No | 1
| b) 50 DN x 40 BSP | No | 1
| c) 40 DN x 32 BSP | No | 1
| d) 32 DN x 25 BSP | No | 1
| e) 25 DN x 20 BSP | No | 1
| f) 20 DN x 20 BSP | No | 1
| g) 20 DN x 15 BSP | No | 1
2.7.12 | Female elbow
| a) 75 DN x 75 BSP |  | 1
No
| b) 74 DN x 65 BSP |  | 1
No
| c) 63 DN x 50 BSP |  | 1
No
| d) 50 DN x 50 BSP |  | 1
| e) 50 DN x 40 BSP | No | 1
| f) 40 DN x 50 BSP | No | 1
| g) 40 DN x 40 BSP | No | 1
| h) 40 DN x 32 BSP | No | 1
| i) 32 DN x 25 BSP | No | 1
| j) 32 DN x 20 BSP | No | 1
| k) 25 DN x 25 BSP | No | 1
| l) 25 DN x 20 BSP | No | 1
| m) 20 DN x 20 BSP | No | 1
| n) 20 DN x 25 BSP | No | 1
2.7.13 | COMPRESSION SADDLE ( including accessories, bolts and Orings etc)
| a) 50 DN x 20mm BSP | No | 1
| b) 50DN x 25mm BSP | No | 1
| c) 63DNx 20mm BSP | No | 1
| d) 63DNx 25mm BSP | No | 1
| e) 75DNx 20mm BSP | No | 1
| f) 75DNx 25mm BSP | No | 1
| g) 90DNx 20mm BSP | No | 1
| h) 90DNx 25mm BSP | No | 1
| i) 110DNx 20mm BSP | No | 1
| j) 110DNx 25mm BSP | No | 1
| k) 160DNx 20mm BSP | No | 1
| l) 160DNx 25mm BSP | No | 1
| m) 200DNx 20mm BSP | No | 1
| n) 200DNx 25mm BSP | No | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
2.7.14 | HDPE _ Fabricated Fittings - segmented Bends- 45 Degree
| a) 75 ND | No | 1
| b) 90 ND | No | 1
| c) 110 ND | No | 1
| d) 125 ND | No | 1
| e) 140 ND | No | 1
| f) 160 ND | No | 1
| g) 180 ND | No | 1
| h) 200 ND | No | 1
| i) 225 ND | No | 1
| j) 250 ND | No | 1
| k) 280 ND | No | 1
| l) 355 ND | No | 1
| m) 315 ND | No | 1
| n) 400 ND | No | 1
| o) 450 ND | No | 1
| p) 500 ND | No | 1
| q) 560 ND | No | 1
| r) 630 ND | No | 1
2.7.15 | HDPE _ Fabricated Fittings - segmented Bends- 90 Degree
| a) 75 ND | No | 1
| b) 90 ND | No | 1
| c) 110 ND | No | 1
| d) 125 ND | No | 1
| e) 140 ND | No | 1
| f) 160 ND | No | 1
| g) 180 ND | No | 1
| h) 200 ND | No | 1
| i) 225 ND | No | 1
| j) 250 ND | No | 1
| k) 280 ND | No | 1
| l) 355 ND | No | 1
| m) 315 ND | No | 1
| n) 400 ND | No | 1
| o) 450 ND | No | 1
| p) 500 ND | No | 1
| q) 560 ND | No | 1
| r) 630 ND | No | 1
2.7.16 | HDPE _ Fabricated Fittings - Tees |  | 1
| a) 75 ND | No | 1
| b) 90 ND | No | 1
| c) 110 ND | No | 1
| d) 125 ND | No | 1
| e) 140 ND | No | 1
| f) 160 ND | No | 1
| g) 180 ND | No | 1
TOTAL CARRIED FORWARD
No
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| h) 200 ND | No | 1
| i) 225 ND | No | 1
| j) 250 ND | No | 1
| k) 280 ND | No | 1
| l) 355 ND | No | 1
| m) 315 ND | No | 1
| n) 400 ND | No | 1
| o) 450 ND | No | 1
| p) 500 ND | No | 1
| q) 560 ND | No | 1
| r) 630 ND | No | 1
2.7.17 | Fabricated fittings Stub-, Tech-stub & Victaulic Stubs
| a) 75 ND | No | 1
| b) 90 ND | No | 1
| c) 110 ND | No | 1
| d) 125 ND | No | 1
| e) 140 ND | No | 1
| f) 160 ND | No | 1
| g) 180 ND | No | 1
| h) 200 ND | No | 1
| i) 225 ND | No | 1
| j) 250 ND | No | 1
| k) 280 ND | No | 1
| l) 355 ND | No | 1
| m) 315 ND | No | 1
| n) 400 ND | No | 1
| o) 450 ND | No | 1
| p) 500 ND | No | 1
| q) 560 ND | No | 1
| r) 630 ND | No | 1
2.7.18 | MILD STEEL GALVANISED PIPE CONFORMING TO SABS 62
Supply, lay, bed and test the following Galvanised pipes (conforming to SABS 62) in 6,1 m lengths, flanged both sides including jointing kits(2 no) in the following diameters PN16:
| a) 450 DN | m | 1
| b) 400 DN | m | 1
| c) 350 DN | m | 1
| d) 300 DN | m | 1
| e) 250 DN | m | 1
| f) 200 DN | m | 1
| g) 150 DN | m | 1
| h) 100 DN | m | 1
| i) 80 DN | m | 1
| j) 65 DN | m | 1
2.7.19 | FLANGED TEES (EQUAL & UNEQUAL)INCLUDING JOINTING KITS
| a) 450 DN | No | 1
| b) 400 DN | No | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| c) 350 DN | No | 1
| d) 300 DN | No | 1
| e) 250 DN | No | 1
| f) 200 DN | No | 1
| g) 150 DN | No | 1
| h) 100 DN | No | 1
| i) 80 DN | No | 1
| j) 65 DN | No | 1
2.7.20 | BENDS 90 DEGREES FLANGED TABLE 1600/3 INCLUDING JOINT KITS
| a) 450 DN | No | 1
| b) 400 DN | No | 1
| c) 350 DN | No | 1
| d) 300 DN | No | 1
| e) 250 DN | No | 1
| f) 200 DN | No | 1
| g) 150 DN | No | 1
| h) 100 DN | No | 1
| i) 80 DN | No | 1
| j) 65 DN | No | 1
2.7.21 | BENDS 45 DEGREES FLANGED TABLE 1600/3 INCLUDING JOINT KITS
| a) 450 DN | No | 1
| b) 400 DN | No | 1
| c) 350 DN | No | 1
| d) 300 DN | No | 1
| e) 250 DN | No | 1
| f) 200 DN | No | 1
| g) 150 DN | No | 1
| h) 100 DN | No | 1
| i) 80 DN | No | 1
| j) 65 DN | No | 1
2.7.22 | BENDS 22.5 DEGREES FLANGED TABLE 1600/3 INCLUDING JOINT KITS
| a) 450 DN | No | 1
| b) 400 DN | No | 1
| c) 350 DN | No | 1
| d) 300 DN | No | 1
| e) 250 DN | No | 1
| f) 200 DN | No | 1
| g) 150 DN | No | 1
| h) 100 DN | No | 1
| i) 80 DN | No | 1
| j) 65 DN | No | 1
2.7.23 | BLANK FLANGES INCLUDING JOINT KIT
| a) 450 DN | No | 1
| b) 400 DN | No | 1
| c) 350 DN | No | 1
| d) 300 DN | No | 1
| e) 250 DN | No | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| f) 200 DN | No. | 1
| g) 150 DN | No. | 1
| h) 100 DN | No. | 1
| i) 80 DN | No. | 1
| j) 65 DN | No. | 1
2.7.24 | Reducers
| a) 75 x 63 mm | No. | 1
| b) 90 x 63 mm | No. | 1
| c) 90 x 75 mm | No. | 1
| d) 110 x 75 mm | No. | 1
| e) 110 x 90 mm | No. | 1
| f) 160 x 90 mm | No. | 1
| g) 160 x 110 mm | No. | 1
| h) 200 x 110 mm | No. | 1
| i) 200 x 160 mm | No. | 1
| j) 250 x 160 mm | No. | 1
| k) 250 x 200 mm | No. | 1
| l) 315 x 250 mm | No. | 1
2.7.25 | Pipe Fittings
Note:Supply and Insatll Fittings. Fittings to be suitabe for coupling directly (mechanically) onto pipes. Each fitting socketed for mechanical jointing. Fitting for PVC Class 12; of PVC, cast iron or epoxy-painted steel.
2.7.26 | Multi Range mechanical Coupling
| a) 635mm | No. | 1
| b) 610mm | No. | 1
| c) 508mm | No. | 1
| d) 477-493mm | No. | 1
| e) 458-474mm | No. | 1
| f) 356-372mm | No. | 1
| g) 344-360mm | No. | 1
| h) 315-332mm | No. | 1
| i) 302-318mm | No. | 1
| j) 284-304mm | No. | 1
| k) 371-289mm | No. | 1
| l) 269-274mm | No. | 1
| m) 250-267mm | No. | 1
| o) 235-252mm | No. | 1
| p) 218-235mm | No. | 1
| q) 205-222mm | No. | 1
| r) 192-209mm | No. | 1
| s) 180-194mm | No. | 1
| t) 159-182mm | No. | 1
| u) 150-170mm | No. | 1
| v) 132-154mm | No. | 1
| w) 108-128mm | No. | 1
| x) 98-118mm | No. | 1
| y) 88-103mm | No. | 1
| z) 72-85mm | No. | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| aa) 59-73mm | No. | 1
| ab) 48-58mm | No. | 1
2.7.27 | MULTI RANGE FLANGED ADAPTOR T/D
| a) 476-493mm | No. | 1
| a) 444-460mm | No. | 1
| c) 417-437mm | No. | 1
| d) 391-407mm | No. | 1
| e) 374-391mm | No. | 1
| f) 344-360mm | No. | 1
| g) 284-304mm | No. | 1
| h) 315-332mm | No. | 1
| i) 302-318mm | No. | 1
| j) 271-289mm | No. | 1
| k) 260-267mm | No. | 1
| l) 235-252mm | No. | 1
| m) 218-235mm | No. | 1
| n) 205-222mm | No. | 1
| o) 192-209mm | No. | 1
| p) 180-194mm | No. | 1
| q) 159-182mm | No. | 1
| r) 150-170mm | No. | 1
| s) 132-154mm | No. | 1
| t) 109-128mm | No. | 1
| u) 98-118mm | No. | 1
| v) 88-103mm | No. | 1
| w) 72-85mm | No. | 1
| x) 59-73mm | No. | 1
| y) 48-58mm | No. | 1
2.7.28 | MULTI RANGE S/S REPAIR CLAMP
| a) 45-55mm | No. | 1
| b) 59-67 mm | No. | 1
| c) 69-76 mm | No. | 1
| d) 75-83 mm | No. | 1
| e) 87-93 mm | No. | 1
| f) 95-104 mm | No. | 1
| g) 104-113 mm | No. | 1
| h) 121-130 mm | No. | 1
| i) 126-136 mm | No. | 1
| j) 136-142 mm | No. | 1
| k) 145-155 mm | No. | 1
| l) 157-163 mm | No. | 1
| m) 165-176 mm | No. | 1
| n) 174-183 mm | No. | 1
| o) 179-189 mm | No. | 1
| p) 188-199 mm | No. | 1
| q) 195-205 mm | No. | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| r) 202-212 mm | No. | 1
| s) 218-228 mm | No. | 1
| t) 229-238 mm | No. | 1
| u) 236-245 mm | No. | 1
| v) 248-257 mm | No. | 1
| w) 258-268 mm | No. | 1
| x) 271-281 mm | No. | 1
| y) 281-291 mm | No. | 1
| z) 294-304 mm | No. | 1
| aa) 302-314 mm | No. | 1
| ab) 310-320 mm | No. | 1
| ac) 320-330 mm | No. | 1
| ad) 342-352 mm | No. | 1
| ae) 353-363mm | No. | 1
2.8 | VALVES
Complete supply & installation ofResilient Seated Valve) Gate Valve Cap Top or Handwheel operated Manufactured to SANS 664 Spec PN16
| a) 50ND | No. | 1
| b) 80 ND | No. | 1
| c) 100 ND | No. | 1
| d) 150 ND | No. | 1
| e) 200 ND | No. | 1
| f) 250 ND | No. | 1
| g) 300 ND | No. | 1
| h) 350 ND | No. | 1
| i) 400 ND | No. | 1
| j) 450 ND | No. | 1
2.8.1 | Complete supply & installation of Butterfly Gate Valve BS5155 compliant PN16
| a) 50ND | No. | 1
| b) 80 ND | No. | 1
| c) 100 ND | No. | 1
| d) 150 ND | No. | 1
| e) 200 ND | No. | 1
| f) 250 ND | No. | 1
| g) 300 ND | No. | 1
| h) 350 ND | No. | 1
| i) 400 ND | No. | 1
| j) 450 ND | No. | 1
| k) 500 ND | No. | 1
| l) 600 ND | No. | 1
2.8.2 | Complete supply & installation of Stainers PN 16
| a) 50ND | No. | 1
| b) 80 ND | No. | 1
| c) 100 ND | No. | 1
| d) 150 ND | No. | 1
| e) 200 ND | No. | 1
| f) 250 ND | No. | 1
| g) 300 ND | No. | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
2.8.3 | Complete supply & installation of Flanged Swing Check Valve
| a) 50ND | No. | 1
| b) 80 ND | No. | 1
| c) 100 ND | No. | 1
| d) 150 ND | No. | 1
| e) 200 ND | No. | 1
| f) 250 ND | No. | 1
| g) 300 ND | No. | 1
2.8.4 | Supply, Install, Brass or similar approved valve complete - cutting of pipes and couplings included.
| a) 25 mm | No. | 1
| b) 32 mm | No. | 1
| c) 40 mm | No. | 1
| d) 50 mm | No. | 1
| e) 80 mm | No. | 1
2.8.5 | Supply and install valve packings
2.8.5.1 | Scour valve assemblies
Extra over item 3.4 for supplying, installing, bedding and testing scour valve assemblies as per Engineering Drawings complete (Including Manhole). Scour tee, cutting of pipes and couplings included.
| a) On 50mm and 63mm Ø main | No. | 1
| b) On 75 mm Ø main | No. | 1
| c) On 90 mm Ø main | No. | 1
| d) On 110 mm Ø main | No. | 1
| e) On 160 mm Ø main | No. | 1
| f) On 200mm Ø main | No. | 1
| g) On 250mm Ø main | No. | 1
| g) On 250-600mm Ø main | No. | 1
2.8.5.2 | Air valve assemblies
Extra over item 3.4 for supplying, installing and testing air valve assemblies as per Engineering Drawings complete (Including Manhole, Airvalve measured elsewhere)
| a) On 50 mm and 64 mm Ø main | No. | 1
| b) On 75 mm Ø main | No. | 1
| c) On 90 mm Ø main | No. | 1
| d) On 110 mm Ø main | No. | 1
| e) On 160 mm Ø main | No. | 1
| f) On 200 mm Ø main | No. | 1
| g) On 250mm Ø main | No. | 1
| h)On 315mm Ø main | No. | 1
2.8.5.3 | Valve to be supplied and installed complete for the following:
| a) 25ND double orifice "Bermad" | No. | 1
| b) 50ND double orifice "Bermad" | No. | 1
| c) 25ND "Vent-O-Mat" | No. | 1
| d) 50ND "Vent-O-Mat" | No. | 1
| e) 80ND "Vent-O-Mat" | No. | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
2.9 | HYDRAULIC FLOW CONTROL VALVES
2.9.1 | Hydraulic operated, Y-pattern body, flow rate control valve with double-chambered diaphragm actuator, complete with pitot tube, flow rate pilot valve and large control filter PN 25
2.9.1.1 | Supply, Install and commission the following completely new flanged, hydraulic operated, Y-pattern body, flow rate control valve with double-chambered diaphragm actuator, complete with pilot tube, flow rate valve and control tubing:
| (a) 80 DN | No. | 1
| (b) 100 DN | No. | 1
| (c) 150 DN | No. | 1
| (d) 200 DN | No. | 1
| (e) 250 DN | No. | 1
| (f) 300 DN | No. | 1
| (g) 350 DN | No. | 1
2.10 | HYDRAULICALLY OPERATED SURGE ANTICIPATING CONTRL VALVE
2.10.1 | Supply, Install and commission the following completely new flanged,
2.10.1.1 | Hydraulic operated, Y-pattern body, surge anticipating control valve with double-chambered diaphragm actuator, complete wite with 3-way sustaining pilot, relief pilot, V-port throttling plug and large control filter
| (a) 80 DN | No. | 1
| (b) 100 DN | No. | 1
| (c) 150 DN | No. | 1
| (d) 200 DN | No. | 1
| (e) 250 DN | No. | 1
| (f) 300 DN | No. | 1
| (g) 350 DN | No. | 1
2.11 | HYDRANTS
2.11.1 | Supply, Install and commission the following completely new
| a)Supply and install underground hydrant | No. | 1
| b) above ground 80mm x 65mm Cast Iron Right Angle MARK 2 Waterguard Hydrant with Double Lug Instantaneous Outlet and 80mm Male BSP Inlet | No. | 1
Mark-up rates
| Percentage mark up on all unforseen items (materials only). Labour , plant, transport will be based on rates under operation and maintenance | 20%
2.11.2 | Watermeters
2.11.2.1 | Complete supply & installation of mechanical watermeters (Reducers excluded)
| a) 50 mm | No. | 1
| b) 65 mm | No. | 1
| c) 80 mm | No. | 1
| d) 100 mm | No. | 1
| e) 150 mm | No. | 1
| f) 200 mm | No. | 1
| g) 250 mm | No. | 1
| h) 315 mm | No. | 1
2.11.2.2 | Complete supply & installation of electromagnetic watermeters (Reducers excluded but 12V Battery and Power supply Included )
| a) 50 mm | No. | 1
| b) 65 mm | No. | 1
| c) 80 mm | No. | 1
| d) 100 mm | No. | 1
| e) 150 mm | No. | 1
| f) 200 mm | No. | 1
| g) 250 mm | No. | 1
| h) 315 mm | No. | 1
i) 400mm
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
2.11.2.3 | Complete supply & installation of Stainers
| a) 50 mm | No. | 1
| b) 65 mm | No. | 1
| c) 80 mm | No. | 1
| d) 100 mm | No. | 1
| e) 150 mm | No. | 1
| f) 200 mm | No. | 1
| g) 250 mm | No. | 1
| h) 315 mm | No. | 1
2.12 | DRAW-OFFS
2.12.1 | Complete supply, install and test single rudimentary domestic drawoff standard type :
| i) 2 Taps | No. | 1
| ii) 4 Taps | No. | 1
2.12.2 | Complete supply, install and test communial standpipe:
| a) Supply of household prepaid water meter | No. | 1
| b) Household Prapaid Water meter installation including initializing of pre-paid meters and house hold tokkens and house hold registration. | No | 1
| c) Repair of a leaking water meters connections | No | 1
TOTAL CARRIED TO SUMMARY
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
SCHEDULE 03: VALVE CHAMBER MAINTENANCE
3.1 | EARTHWORKS & SITE PREPARATION
3.1.1 | Clear site and strip topsoil to a depth of 150mm; stockpile on-site for later landscaping. | m² | 1
3.1.2 | Excavate for valve chamber structure in all materials (soft, hard, or rock), down to a maximum depth of 2.0m. Include shoring and lateral support where required. | m³ | 1
3.1.3 | Provide mechanical dewatering to control groundwater seepage or pipeline drainage during excavation and construction. | Day | Provisional sum
3.1.4 | Backfill around completed chamber structure with approved selected material, compacted in 150mm layers to 95% Mod AASHTO density. | m³ | 1
3.1.5 | Load, haul, and dispose of surplus excavated material to an authorized municipal dump site. | m³ | 1
3.2 | CONCRETE WORK (BASE SLAB, PLINTHS & CONCRETE CHAMBER OPTION)
3.2.1 | Supply, place, and compact 50mm thick unreinforced blinding layer (Class 15 MPa concrete) beneath the chamber base slab. | m² | 1
3.2.2 | Supply, pour, and finish reinforced concrete Class 25/30 MPa for chamber floor base slab (150mm–200mm thick), including a 200x200x100mm deep drain sump pit. | m³ | 1
3.2.3 | Supply and install high-tensile steel reinforcement or welded wire fabric (Ref 245 top and bottom) for the concrete base slab. | kg | 1
3.2.4 | Cast-in-situ concrete thrust blocks or pipe support plinths (Class 25 MPa), complete with anchor straps for internal valve pipework | No. | 1
3.2.5 | [Option A] Supply, assemble, and seal modular interlocking Precast Concrete Chamber rings/boxes (conforming to SANS 1294/BS EN 1917), including heavy-duty polyurethane joint sealants. | m | 1
3.2.6 | [Option A] Supply and place precast or cast-in-situ reinforced concrete roof slab (Class 30 MPa) with a 600mm x 600mm clear manhole opening. | No. | 1
3.3 | MASONRY WORK (BRICKWORK CHAMBER OPTION)
3.3.1 | [Option B] Supply and lay 230mm thick walling using Solid Class I Blue Clay Engineering Bricks in Class II cement mortar, built in clean stretcher bond | m² | 1
3.3.2 | [Option B] Supply and install high-yield galvanized brick-force reinforcing ties within every layer of horizontal brick mortar joints. | m | 1
| [Option B] Apply 15mm thick waterproof internal and external structural cement plaster (1:3 mix) to walls, finished with a steel trowel to guarantee watertightness. | m² | 1
3.4 | CHAMBER ACCESS, COVERS & VENTILATION
3.4.1 | Supply and install Class D400 (for roadways) heavy-duty, gas-tight, watertight cast iron/composite manhole frame and cover (600x600mm clear opening) bedded in cement mortar. | No. | 1
3.4.2 | Supply and install Class B125 (for sidewalks/verges) medium-duty cast iron/composite manhole frame and cover (600x600mm clear opening) bedded in cement mortar. | No. | 1
3.4.3 | Supply and install fixed hot-dip galvanized steel (or Grade 316 stainless steel) cat-ladder for chambers deeper than 1.2m, complete with anchor bolts. | No. | 1
3.4.4 | Supply and install 100mm diameter hot-dip galvanized steel gooseneck air ventilation pipe, complete with an internal stainless steel insect/vermin screen mesh. | No | 1
3.5 | PIPE PENETRATIONS & TESTING
3.5.1 | Supply and install modular mechanical compression seals (e.g., Link-Seal) or 6mm Malthoid wrapping around pipeline penetrations through chamber walls. | No. | 1
3.5.2 | Allow for a 24-hour structural watertightness test to ensure zero groundwater infiltration prior to final project sign-off | Sum | 1
3.6 | BARRICADING
3.6.1 | Allow for the cost of barricading of excavations as instructed by Agent
3.6.1.1 | Danger tape | m | 1
3.6.1.2 | 1.2m Dayglo Mesh | m | 1
3.6.1.3 | Jersey bariers | m | 1
TOTAL CARRIED FORWARD TO SUMMARY
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
SCHEDULE 04: RESERVOIR MAINTENANCE
4.1 | CONCRETE RESERVOIR WATERPROOFING & REPAIRS
4.1.1 | Prepare concrete surfaces using high-pressure water jetting (minimum 250 bar) to remove biological growth, laitance, and failed coatings. | m² | 1
4.1.2 | Repair structural or leaking cracks via low-pressure injection of hydro-active polyurethane resin or flexible epoxy compounds. | m | 1
4.1.3 | Hack out spalled concrete, abrasive blast exposed steel rebar to Sa 2.5, apply anti-corrosion primer, and patch with polymer-modified structural mortar. | m² | 1
4.1.4 | Supply and apply a dual-coat, cementitious, crystalline waterproofing system (approved for potable water contact) to internal concrete walls and floor. | m² | 1
4.1.5 | Rake out and reseal internal construction joints and movement joints using heavy-duty elastomeric joint bandages and food-grade polysulphide sealant. | m | 1
4.2 | STEEL RESERVOIR FIXING & WATERPROOFING
4.2.1 | Drain tank, clean, and abrasive blast corroded internal/external steel panels to Sa 2.5 finish to prepare for structural lining. | m² | 1
4.2.2 | Cut out and replace severely corroded steel shell plates or roof trusses with new hot-dip galvanized or coated mild steel plates. | kg | 1
4.2.3 | Replace missing, failed, or compromised tank panel fasteners with high-tensile, hot-dip galvanized bolts complete with EPDM sealing washers. | No. | 1
4.2.4 | Supply and install an approved food-grade PVC or EPDM internal drop-in tank liner system, including mechanical top-fixing profiles and edge sealing. | m² | 1
4.2.5 | Supply and install sacrificial zinc/magnesium anodes to internal steel surfaces to provide cathodic corrosion protection. | No. | 1
4.3 | WATER LEVEL GAUGE REPLACEMENT
4.3.1 | Decommission and remove existing failed mechanical level indicators or damaged float assemblies from the reservoir site. | No | 1
4.3.2 | Supply, install, and calibrate a heavy-duty mechanical target-board level indicator system, complete with external scale board, pointer, and internal floats. | No | 1
4.3.3 | Supply, install, and calibrate an electronic hydrostatic pressure transmitter or non-contact ultrasonic level sensor (IP68 rated) at the reservoir base. | No | 1
4.3.4 | Supply and connect a solar-powered telemetry unit linked to the level sensor for real-time SCADA reporting. | No. | 1
4.4 | CLEANING, DISINFECTION & COMMISSIONING
4.4.1 | Isolate reservoir, open scour valves, and mechanically remove accumulated silt, sludge, and debris from the floor slab to an approved dumping area. | m³ | 1
4.4.2 | Scrub and clean internal walls and floors using a food-grade chlorine solution (minimum 50 mg/L free chlorine contact spray). | m² | 1
4.4.3 | Flush the entire structure with clean potable water, pump dry, and neutralize chlorinated wash-water prior to lawful environmental discharge. | Sum | 1
4.5 | POLYETHYLENE TANK MAINTENANCE & REPLACEMENT
4.5.1 | DECOMMISSIONING & REMOVAL OF CRACKED TANKS
4.5.1.1 | Safely isolate incoming, overflow, and discharge pipework lines from the damaged UV-cracked plastic storage tank.
4.5.1.2 | Drain residual water, systematically disconnect external metallic/PVC fittings, and dismantle damaged tank components.
4.5.1.3 | Load, transport, and legally dispose of old, unrepairable cracked plastic tank hulls to an authorized municipal dump site.
4.6 | FOUNDATION & BASE CIVIL REPAIRS
4.6.1 | Inspect existing concrete base/plinth; chisel away spalled, uneven, or sharp concrete edges to restore structural smoothness. | m² | 1
4.6.2 | Cast a new level screed or concrete plinth surface expansion (Class 25 MPa, 100mm thick) to prevent future localized stress cracks on the new tank base. | m³ | 1
4.7 | SUPPLY AND INSTALLATION OF NEW HEAVY-DUTY TANKS
4.7.1 | Supply and deliver to site an approved heavy-duty Vertical Polyethylene Potable Water Tank (Minimum 5,000L capacity), incorporating multi-layered UV stabilization (minimum UV8 rating to resist sun cracking) and food-grade black internal lining. | No. | 1
4.7.2 | Supply and deliver to site an approved heavy-duty Vertical Polyethylene Potable Water Tank (Minimum 10,000L capacity), featuring heavy-wall design and multi-layered UV-stabilization. | No. | 1
4.7.3 | Position, align, and safely anchor the new tank onto the prepared flat concrete base slab using certified heavy-duty anchor straps or base brackets. | No. | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
4.8 | PIPE CONNECTIONS, VALVES & COMMISSIONING
4.8.1 | Supply and fit new heavy-duty brass/polypropylene tank connectors, gaskets, and flexible expansion couplings to accommodate settling and prevent strain. | No. | 1
4.8.2 | Supply and install a heavy-duty brass full-bore isolation ball valve (matching pipe diameter, e.g., 50mm) on the tank outlet line. | No. | 1
4.8.3 | Supply and install an automatic high-flow mechanical float control valve on the incoming bulk water supply line to prevent overflowing. | No. | 1
4.8.4 | Thoroughly clean, rinse, and chemically sanitize the interior of the newly installed plastic tank using a chlorinated solution before filling for service. | No. | 1
4.8.5 | Complete design, manufacture, delivery to site and complete erection of the following 1,5m-9m tank stands. (Design should make provision for Hot-dipped galvanizing of the tank stands). (Tank stands to include the safety ladder with cage and safety platform as per relevant OH&S Regulations. Tanks can be 5m³ or 20m³ and will be measured under Item 6.1.7)
4.8.5.1 | a) Tank stand for 1 (one) tank | No. | 1
4.8.5.2 | b) Tank stand for 2 (two) tanks | No. | 1
4.8.5.3 | c) Tank stand for 4 (four) tanks | No. | 1
4.8.5.4 | d) Tank stand for 6 (six) tanks | No. | 1
4.8.6 | Complete design, manufacture, delivery to site and complete erection of the following 1,5m-9m tank stands. (Design should make provision for Hot-dipped galvanizing of the tank stands). (Tank stands to include the safety ladder with cage and safety platform as per relevant OH&S Regulations. Tanks can be 5m³ or 20m³ and will be measured under Item 6.1.7)
4.8.6.1 | a) Tank stand for 1,5 meters | Item | 1
4.8.6.2 | b) Tank stand for 5 meters | Item | 1
4.8.6.3 | c) Tank stand for 9 meters | Item | 1
4.8.6.4 | Supply mix and place Class 25/19 concrete for tank stand base and Thrust blocks | m³ | 1
4.9 | MISCELLANEOUS
4.9.1 | Supply and Install pipe Markers | No | 1
4.9.2 | Supply and install protective PVC or composite valve sleeves / spindle extension sleeves | No | 1
4.9.3 | General grass cutting, vegetation clearing, and site housekeeping within the reservoir perimeter fence & 2Meters outside the perimeter | No | 1
4.9.4 | Apply road-marking quality yellow paint on sidewalks/curbs for rapid valve chamber identification. | No | 1
4.9.5 | Clean existing valve chambers, remove silt, pump out standing water, and extract accumulated debris. | No | 1
4.9.6 | Specialized servicing, strip-down inspection, seal replacement, and pressure setting calibration of Pressure Reducing Valves (PRV). | No | 1
4.9.7 | Supply and Installation of Name board at Water and Snaiatation Existing fascilities as per employers instruction | No | 1
4.9.8 | Pressure washing | m² | 1
4.10 | BOREHOLE REHABILITATION, REDRILLING & PUMP HOUSE WORKS
4.10.1 | Fixed Mobilisation Call-Out Fee: Allow for the transport, mobilization, and demobilization of the repair crew, specialized tools, and machinery to any spot borehole or pump house location on site:
4.10.1.1 | a) Building & Structural Security Crew Call-out
4.10.1.1 | b) Electro-Mechanical Millwright Repair Crew Call-out
4.10.2 | Hourly Crew Rates: Provide an all-inclusive hourly rate for the specialized repair teams while actively performing on-site repairs, reconstructions, or installations, including all safety PPE and hand tools
4.10.2.1 | a) Electro-Mechanical Crew: (1x Red Seal Millwright + 1x Electrician/Wireman + 2x Assistants) | Hr | 1
4.10.2.2 | b) Building & Security Crew: (1x Artisan Bricklayer + 1x Concrete Finisher/Plasterer + 2x Assistants) | Hr | 1
4.11 | BOREHOLE COLUMN PIPES
4.11.1 | Supply and installation of column pipes, shafts, bearings, stabilisers, for boreholes 150 mm diameter :
4.11.1.1 | a) 50 mm Ø piping | m | 1
4.11.1.2 | b) 65 mm Ø piping | m | 1
4.11.1.3 | c) 80 mm Ø piping | m | 1
4.11.1.4 | d) 100 mm Ø piping | m | 1
4.11.2 | Disconnect, pull out, and temporarily store existing functional or salvageable submersible pumps, motors, and drop-cable/column pipes from the borehole cavity. | Sum | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
4.11.3 | Specialized Fishing Operations: Supply and utilize specialized recovery tools (over-shots, spears, or taps) to fish out broken or dropped driving rods, severed column pipes, or jammed pump elements stuck inside the collapsed casing. | Sum | 1
4.11.4 | Re-drilling of Collapsed Boreholes ( including, surveying, Geohydralical report with yield and quality tests, casing, caping)
4.11.4.1 | a) 45m - 70m | No. | 1
4.11.4.2 | b) 71m - 80m | No. | 1
4.11.4.3 | c) 81m - 120m | No. | 1
4.12 | PUMPHOUSES
4.12.1 | Complete manufacture and delivery to site of pumphouse complete including welded borehole number on 5 x 50 x 400mm Flat bar.
4.12.1.1 | a) Pump House Type A as per Drawings | No. | 1
4.12.1.2 | b) Pump House Type B Vandal Proof with Transfromer room and magnetic keys and rollable doors | No. | 1
4.12.2 | Complete construction of appurtenant concrete work for pumphouses :
4.12.2.1 | a) Pump House Type A | No. | 1
4.12.2.2 | b) Pump House Type B Vandal Proof with Transfromer room and magnetic keys and rollable doors | No. | 1
4.12.3 | Complete erection of pumphouses :
4.12.3.1 | a) Pump House Type A - Standard | No. | 1
4.12.3.2 | b) Pump House Type B Vandal Proof with Transfromer room and magnetic keys and rollable doors | No. | 1
4.12.4 | Borehole information plate
4.12.4.1 | a) Supply, deliver and install the borehole information plate (Information plate to be fixed inside the pumphouse) | No | 1
4.12.4.2 | b) Supply, deliver and install the borehole information plate (Information plate to be fixed on the outside of the pumphouse) | No | 1
4.13 | SECURITY FENCING
4.13.1 | Supply and erect fencing complete as per Drawings
4.13.1.1 | a) Corner posts | No. | 1
4.13.1.2 | b) Intermediate posts | No. | 1
4.13.1.3 | c) Gate posts | No. | 1
4.13.1.4 | d) Double gate 3,6m total width, with locking chain, hinges and drop bolts. | No. | 1
4.13.1.5 | e) Razor mesh with wires | m | 1
4.13.1.6 | f) Cast-insitu Concrete Class 15/19 (200 x 200 mm) around fence | m
4.13.2 | Concrete Palisades
4.13.2.1 | a) Supply all material and erect 1.8m high concrete palisade fence complete with rails, poles and foundation to supplier/manufacturer's specifications. | m | 1
4.13.2.2 | b) Supply and install gates as per drawings
4.13.2.2.1 | i) Vehicle gate | No. | 1
4.13.2.2.2 | ii) Personnel gate | No. | 1
4.13.3 | Wire Mesh Fencing
4.13.3.1 | Posts
4.13.3.1.1 | All posts shall include ‘Locking Recess Mechanism’ to secure panel edge and be sealed with a UV stabilized polymer cap. Posts shall be Hot Dipped Galvanized after fabrication whereby zinc coating shall be smooth and essentially free from lumps, globs, or points.
4.13.3.1.1.1 | (a) Section 1: 2.1m long of 85mm x 85mm x 45mm piece without joints | No | 1
4.13.3.1.1.2 | (b) Section 2: 2.7m long taper post of 85mm x 85mm x 45mm piece without joints | No | 1
4.13.3.2 | Panels
4.13.3.2.1 | Mesh panel to be steel pressed with 4 x v-bends (rigidity), 2 x 70 degree side flanges (all internal fixtures – shielded from attack) and top and toe bend made up of high carbon wire in accordance to BS EN 10223-4. Tensile strength of welds must be at least 75% of the tensile strength of the wire as per SABS 2536/YM139, 8 x anti-scale gussets positioned where bend connects to the post and to include 8 x Double bolt comb clamps and 8 x Single bolt comb clamps with 24 x Anti vandal tech bolt. Panels to be Hot Dipped Galvanized and Alu-galv coated Coating to be corrosion tested for 1008 hours without signs of red rust.
4.13.3.2.1.1 | (a) Section 1: 2.1m height and a width of 3.305m | No | 1
4.13.3.2.1.2 | (b) Panel aperture size: 76.2 mm x 12,7 mm | No | 1
4.13.3.3.1 | (a) 450mm concertina coil | m | 1
TOTAL CARRIED FORWARD TO SUMMARY

## Sewer
CITY OF POLOKWANE
CONTRACT RATES FOR TERM CONTRACTORS FOR WATER AND WASTEWATER MAINTENANCE
PRICED BILL OF QUANTITIES
SCHEDULE 05: MUNICIPAL SEWER BLOCKAGE CLEARING & PIPE REPAIR
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
SCHEDULE 05: MUNICIPAL SEWER BLOCKAGE CLEARING & PIPE REPAIR
5.1 | Specialized Repair Crews & Labor
5.1.1 | Fixed Mobilisation Call-Out Fee: Allow for the transport, mobilization, and demobilization of the emergency repair crew, gas safety tools, and machinery to any sewer blockage or overflow location on-site:
| a) Jetting & Vacuum Combination Truck Crew Call-out | No | 1
| b) Confined Space Entry / Manual Rodding Crew Call-out | No | 1
5.1.2 | Hourly Crew Rates: Provide an all-inclusive hourly rate for the specialized response teams while actively performing blockages clearing, manhole cleaning, or bypass operations, including all biohazard PPE and hand tools:
| a) Jetting & Suction Crew: (1x Operator/Supervisor + 2x Assistants) | Hr | 1
| b) Confined Space Rodding Crew: (1x Confined Space Certified Entry Lead + 2x Assistants) | Hr | 1
| c) Bio-Enzyme Disinfection Crew: (1x Operator + 2x Assistants) | Hr | 1
5.2 | Earthworks and Heavy Machinery Support for Sewer Repairs
5.2.1 | Machinery Hourly Rates: Provide an all-inclusive hourly rate for heavy machinery, including a certified operator, fuel, maintenance, and transport to spot blockage/overflow locations:
| a) Combination High-Pressure Jetting & Vacuum Tanker Truck (Min 8,000L) | Hr | 1
| b) Tractor-Loader-Backhoe (TLB / Excavator), minimum 60kW engine power | Hr | 1
| c) Mobile Dewatering/Trash Pump (minimum 4-inch diesel pump for sewage bypass) | Hr | 1
| d) Portable Generator to power site extraction units and lights x1 | Hr | 1
| e) Spotlight set of 4 x1 | Hr | 1
| f) Shovels x4 and Sludge Scoops x2 | Hr | 1
| g) Gas Detector Meter (Multi-gas H2S/CO/O2/LEL) for pre-entry tests | Hr | 1
| h) Confined space safety tripod with rescue winch and harnesses | Km | 1
| i) LDV / Utility Vehicle (Km measured from nearest cluster depot to site) | Hr | 1
| j)100m - Rods of 8mm with fittings | Hr | 1
5.3 | Pipe Cleaning & Blockage Removal Work
5.3.1 | Mechanical Rodding: Clear obstructions in sewer reticulation lines using flexible spring steel rods or mechanical winches:
| a) Pipe diameters up to 110mm | m | 1
| b) Pipe diameters from 110mm up to 160mm | m | 1
| c) Pipe diameters from 160mm up to 250mm | m | 1
| d) Pipe diameters from 250mm up to 350mm | m | 1
| e) Pipe diameters from 350mm up to 450mm | m | 1
| f) Pipe diameters from 350mm up to 600mm | m | 1
5.3.2 | High-Pressure Hydro-Jetting: Clear grease, silt, and heavy roots using a high-pressure jetting unit with specialized cutting/flushing nozzles:
| a) Pipe diameters up to 110mm | m | 1
| b) Pipe diameters from 110mm up to 160mm | m | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| c) Pipe diameters from 160mm up to 250mm | m | 1
| d) Pipe diameters from 250mm up to 350mm | m | 1
| e) Pipe diameters from 350mm up to 450mm | m | 1
| f) Pipe diameters from 350mm up to 600mm | m | 1
5.4 | Trenched Excavations (For Collapsed Sewer Lines): Using machinery
5.4.1 | Excavation in earth for sewer line repairs, width not exceeding 1.0m, measured down from ground level to invert of pipe, including shoring and lateral support:
| a) Depth up to 1.5m deep | m³ | 1
| b) Depth from 1.5m up to 3.0m deep | m³ | 1
5.5 | Trenched Excavations (For Collapsed Sewer Lines): by hand
5.5.1 | Excavation in earth for sewer line repairs, width not exceeding 1.0m, measured down from ground level to invert of pipe, including shoring and lateral support:
| a) Depth up to 1.5m deep | m³ | 1
| b) Depth from 1.5m up to 3.0m deep | m³ | 1
5.6 | Backfilling & Compaction
5.6.1 | Backfilling, including selection, layering, watering, and compaction of selected granular bedding material and backfill material around and above repaired sewer pipelines:
| a) Bedding cradle and blanket using selected soil / sand granular material | m³ | 1
| b) Main backfill compacted in layers to 93% Mod AASHTO density | m³ | 1
5.6 | Disposal of Material & Reinstatement
| a) Load, haul, and legally dispose of extracted sewer rag debris, screenings, silt, and unrepairable pipe materials to an authorized wastewater treatment plant or municipal dump site. | Ton | 1
| b) Reinstate surface layout to its original condition, including paving or concrete layer. | m² | 1
5.7 | Supply, Lay, Joint and Test PVC-U Sewer Pipelines
5.7.1 | Supply, transport, lay, and joint Heavy-Duty PVC-U Solid Wall Sewer Pipes (Class 34 / SDR 34, conforming to SANS 791) complete with rubber sealing rings, in trenched excavations:
| a) 110 mm Outer Diameter (OD) | m | 1
| b) 160 mm Outer Diameter (OD) | m | 1
| c) 200 mm Outer Diameter (OD) | m | 1
| d) 250 mm Outer Diameter (OD) | m | 1
| e) 315 mm Outer Diameter (OD) | m | 1
5.7.2 | Supply, transport, lay, and joint Structured-Wall Polyvinyl Chloride (PVC-U) Sewer Pipes (such as Durotwin / Twin-wall structured pipes conforming to SANS 1601), stiffness rating Class 400 kPa, in trenched excavations:
| a) 110 mm Outer Diameter (OD) | m | 1
| b) 160 mm Outer Diameter (OD) | m | 1
| c) 200 mm Outer Diameter (OD) | m | 1
| d) 250 mm Outer Diameter (OD) | m | 1
| e) 315 mm Outer Diameter (OD) | m | 1
5.7.3 | Supply, transport, lay, and joint Polypropylene (PP) or Polyethylene (PE) Structured Wall Corrugated Pipes (such as Weholite / Megapipe conforming to SANS 21138) for large diameter gravity outfall mains:
| a) 400 mm Nominal Diameter (ID) | m | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| b) 500 mm Nominal Diameter (ID) | m | 1
| c) 600 mm Nominal Diameter (ID) | m | 1
| d) 700 mm Nominal Diameter (ID) | m | 1
5.7.4 | Sewer Pipeline Connections & Fittings
Supply and install heavy-duty injection-moulded PVC-U Class 34 pipeline fittings including socketed bends, junction tees, and access eyes:
| a) 110 mm Equal Junction (45 or 90 Degree) | No. | 1
| b) 160 mm x 110 mm Reducing Junction (45 Degree) | No. | 1
| c) 160 mm Equal Junction (45 Degree) | No. | 1
| d) 110 mm Long Radius Bend (45 or 90 Degree) | No. | 1
| e) 160 mm Long Radius Bend (45 or 90 Degree) | No. | 1
| f) 160mm x 110mm Underground Y Saddle | No. | 1
5.7.5 | Testing & Pipeline Commissioning
| Perform standard air test or low-pressure water test on newly laid sections of gravity sewer lines between manholes to verify watertightness (conforming to SANS 1200 LD). | No. | 1
TOTAL CARRIED FORWARD TO SUMMARY
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
SCHEDULE 06: MANHOLE REBUILDING & BENCHING RECONSTRUCTION
6.1 | Demolition, Removal & Site Preparation
| a) Demolish structurally compromised brick manhole walls or concrete shafts, pick out failed mortar, and haul debris away to an authorized dump site. | m³ | 1
| b) Carefully lift, extract, and remove damaged or displaced precast concrete manhole rings, tapers, or slabs from the excavation, including breaking seals and loading to transport. | No | 1
| c) Break out eroded, cracked, or leaking concrete manhole benching channels using light mechanical breakers, cleaning out all loose debris down to the structural base slab. | No | 1
6.2 | Precast Concrete Manhole Structural Reinstallation
Supply, transport, and reinstall new modular interlocking Precast Concrete Manhole Components (conforming to SANS 1294), bedded in 1:3 cement mortar with approved heavy-duty elastomeric joint sealants:
| a) 1000 mm Internal Diameter (ID) Precast Chamber Rings (per 250mm/500mm depth) | No | 1
| b) 1250 mm Internal Diameter (ID) Precast Chamber Rings (per 250mm/500mm depth) | No | 1
| c) Precast Concrete Reducing Slabs / Taper Sections (1250mm to 1000mm or 1000mm to 560mm) | No | 1
6.3 | Engineering Brickwork Manhole Rebuilding
| a) Rebuild manhole chamber walls (minimum 230mm thick) using Solid Class I Clay Engineering Bricks laid in Class I cement mortar (1:3 mix) with galvanized brickforce ties. | m² | 1
| b) Apply a 20mm thick internal waterproof, chemical-resistant structural cement plaster coat (1:3 mix enhanced with polymer additives), steel-troweled to a glass-smooth finish. | m² | 1
6.4 | Structural Benching & Channel Casting
| a) Cast new high-strength concrete benching (Minimum Class 30 MPa utilizing sulfate-resistant cement or specialized crystalline waterproofing additives) shaped to a steep 1:5 gradient toward the flow channel to prevent debris settlement. | m³ | 1
6.4.2 | Form, cast, and hand-dress semi-circular invert channels troweled to a glass-smooth finish to maintain laminar, non-turbulent sewage flow across the manhole floor:
| a) For pipeline diameters up to 160 mm | No | 1
| b) For pipeline diameters from 200 mm up to 315 mm | No | 1
6.4.3 | Manhole Steps, Covers, and Accessories
| a) Supply and install heavy-duty plastic-encapsulated steel step irons cast into chamber walls at maximum 300mm vertical centers. | No | 1
| b) Supply and install heavy-duty Class D400 (roadway rated) or Class B125 (sidewalk rated) polymer-composite/cast-iron manhole covers and frames, bedded securely in high-strength epoxy mortar. | No | 1
6.4.4 | SEWER FLOW ISOLATION & BYPASS MANAGEMENT
Supply, insert, and inflate heavy-duty pneumatic pipe plugs (inflatable bypass bags) made from multi-layer reinforced aramid/neoprene rubber into upstream manhole lines to achieve a secure, high-pressure watertight seal:
| a) For pipe diameters 110 mm to 160 mm | Hr | 1
| b) For pipe diameters 200 mm to 315 mm | Hr | 1
| c) For pipe diameters 400 mm to 600 mm | Hr | 1
6.4.5 | Over-Pumping and Sewage Flow Bypass
Establish and operate a temporary sewer over-pumping / bypass system using specialized heavy-duty diesel trash pumps to transfer isolated upstream sewage flow around the dry working area and discharge it safely back into the downstream network
| a) For flow rates up to 20 Litres per second (L/s) | Hr | 1
| b) For flow rates from 21 L/s up to 50 Litres per second (L/s | Hr | 1
| c) Supply, lay, and clear heavy-duty flexible canvas or helical-reinforced PVC suction and discharge bypass hoses, including leak-proof couplings. | m | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
6.4.7 | NEW CONSUMER SEWER CONNECTIONS (APPLICATION WORK)- Upon request by Employer Rep
6.4.7.1 | Locate the existing municipal sewer main line via pilot trenching and carefully expose the pipe barrel without interrupting service. | No
6.4.7.2 | a) Core-drill/cut into the live municipal main line and install an approved heavy-duty mechanical connection saddle or oblique junction tee complete with EPDM seals and stainless steel strap bands:
| b) Onto an existing 160 mm Main Line (160mm x 110mm connection) | No | 1
| C) Onto an existing 250 mm to 315 mm Main Line (Main x 160mm connection) | No | 1
TOTAL CARRIED FORWARD TO SUMMARY

## Pumps & Generators
CITY OF POLOKWANE
CONTRACT RATES FOR TERM CONTRACTORS FOR WATER AND WASTEWATER MAINTENANCE
PRICED BILL OF QUANTITIES
SCHEDULE 6: DIESEL ENGINES AND GENERATORS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
7.1 | SCHEDULE 7: DIESEL ENGINES AND GENERATORS
Supply and delivery of air cooled diesel power units complete including fan belts and belt guard. (Belt guards must comply with all safety specifications and standards) ( Pulleys and clutches measured elsewhere)
7.1.1 | Diesel Power Engines
| a) Single-cylinder, continuous power rating from 1.9 kW to 3.6 kW (2.5 hp - 4.9 hp) with a maximum variable speed up to 3000 r/min | No. | 1
| b) Single-cylinder, heavy-duty continuous rating from 5.5 kW to 9.5 kW (7.4 hp - 12.7 hp) at fixed generator speeds of 1500 r/min or 1800 r/min. | No. | 1
| c) Twin-cylinder, heavy-duty continuous rating from 11.0 kW to 14.4 kW at fixed generator speeds of 1500 r/min or 1800 r/min. | No. | 1
| d) Three-cylinder16.8 kW – 22.2 kW (22.5 hp – 29.8 hp)1500 r/min or 1800 r/min (Fixed)Heavy-duty | No. | 1
7.1.2 | Installation and commissioning of power units (including plinths, baseplates, adjustable frames) for:
| a) Single-cylinder, continuous power rating from 1.9 kW to 3.6 kW (2.5 hp - 4.9 hp) with a maximum variable speed up to 3000 r/min | No. | 1
| b) Single-cylinder, heavy-duty continuous rating from 5.5 kW to 9.5 kW (7.4 hp - 12.7 hp) at fixed generator speeds of 1500 r/min or 1800 r/min. | No. | 1
| c) Twin-cylinder, heavy-duty continuous rating from 11.0 kW to 14.4 kW at fixed generator speeds of 1500 r/min or 1800 r/min. | No. | 1
| d) Three-cylinder16.8 kW – 22.2 kW (22.5 hp – 29.8 hp)1500 r/min or 1800 r/min (Fixed)Heavy-duty | No. | 1
7.1.3 | Supply, delivery, complete installation and commissioning of the following centrifugal clutches :
a) High speed :
| i) 125 mm Ø | No. | 1
| ii) 180 mm Ø | No. | 1
7.1.4 | Complete supply, delivery, installation and commissioning of the following pulley ranges for wedge belts, including the required wedge belts:
SPA Range :
a) Four groove, with pitch diameters
| i) 80 mm and 85 mm | No. | 1
| ii) 90 mm to 150 mm | No. | 1
| iii) 160 mm to 315 mm | No. | 1
| iv) 400 mm to 630 mm | No. | 1
SPB Range :
b) Four groove, with pitch diameters
| i) 125 mm and 150 mm | No. | 1
| ii) 160 mm to 315 mm | No. | 1
| iii) 355 mm to 630 mm | No. | 1
7.1.5 | Supply, delivery and installation of "optional" items for diesel engines as describe in PD7
| a) Flexible exhaust | No. | 1
| b) 90 l Fuel tank with appurtenant pipework and tank stand | No. | 1
| c) Fuel filter & indicator | No. | 1
| d) Oil pressure gauge | No. | 1
| e) Typical machine tool kit (Details to be supplied) | No. | 1
| f) Vibration hour meter | No. | 1
7.1.6 | Wedge bed/ Vbels
| a) Wrapped V-Belt (13mm x 8mm), Size: A42 (1066mm Li) | No. | 1
| b) Wrapped V-Belt (17mm x 11mm), Size: B60 (1524mm Li) | No. | 1
| c) V-Belt (22mm x 14mm), Size: C90 (2286mm Li) | No. | 1
| d) Wrapped V-Belt (32mm x 19mm), Size: D120 (3048mm Li) | No. | 1
| e) Section SPZ: High-Power Wedge Belt (9.7mm x 8mm), Size: SPZ 1000 | No. | 1
| f) Section SPA: High-Power Wedge Belt (12.7mm x 10mm), Size: SPA 1400 | No. | 1
| g) Section SPB: High-Power Wedge Belt (16.3mm x 13mm), Size: SPB 2120 | No. | 1
| h) Section SPC: High-Power Wedge Belt (22mm x 18mm), Size: SPC 3000 | No. | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
7.2 | STAND-BY GENERATOR INSTALLATION
7.2.1 | Diesel Generator set (1 Phase)
The complete supply, deliver, off-load and installation of 230V Generator - set with Industrial water cooled diesel engine, 12VDC electrical system and battery charger, cartridge type fuel and oil filters, air filter, Battery(ies), rack and cables, alternator to be Electrical design to BS5000 Part 99, IEC60034-1, BS 9000, BS 5514, BS PT1184C. Automatic Voltage Regulator with Voltage regulation ± 0.5%, Heavy duty industrial exhaust silencer 25 dB reduction. Vibration isolated poweder coated steel enclosure with removable cover plate control panel and feeder MCCB, Heavy-duty fabricated steel base with lifting points with Anti-vibration pad complete with base frame incorporates metal 8hr Fuel tank and 3 pin industrial outlet socket with wiring and labels for the following Generators complete with AVR, electrical start equal or similar to Olympian - GEK6SP-1, supplied by Barloworld Power, Caterpillar.
| a) 6KVA/6kW | No. | 1
| b) 9KVA/9kW | No. | 1
| c) 11KVA/11kW | No. | 1
7.2.2 | Diesel Generator Set (3 Phase)
The complete supply, deliver, off-load and installation of a 400/230V Generator - set with industrial water cooled diesel engine, 12 VDC electrical system and battery charger, Cartridge type fuel and oil filters, Air filter, Battery(ies), rack and cables, Alternator to be Electrical design to BS5000 Part 99, IEC60034-1, BS 9000, BS 5514 BS PT1184C. Automatic Voltage Regulator with Voltage regulation ± 0.5%, Heavy duty industrial exhaust silencer 25dB reduction. Vibration isolated poweder coated steel enclosure with removable cover plate control panel and feeder MCCB, Heavy-duty fabricated steel base with lifting points with Anti-vibration pad complete with baseframe incorporates metal 8hr Fuel tank and 3 pin industrial outlet socket with wiring and labels for the following Generators complete with AVR, electrical start equal or similar to Olympian - GEK6SP-1, supplied by Barloworld Power, Caterpillar.
| a) 18KVA/14.14kW | No. | 1
| b) 22KVA/17.6kW | No. | 1
| c) 44KVA/35kW | No. | 1
| d) 65KVA/53kW | No. | 1
| e) 88KVA/70.4kW | No. | 1
| f) 165KVA/135kW | No. | 1
7.2.3 | Weather proof Canopy for Generator-Set
The complete sypply and installation of a weather proof canopy for Generator complete with pad-lockable doors to access motor, refuelling, battery charger and control panel inlets.
| a) 6KVA/6kW | No. | 1
| b) 9KVA/9kW | No. | 1
| c) 11KVA/11kW | No. | 1
| d) 18KVA/14.14kW | No. | 1
| e) 22KVA/17.6kW | No. | 1
| f) 44KVA/35kW | No. | 1
| g) 65KVA/53kW | No. | 1
| h) 88KVA/70.4kW | No. | 1
| i) 165KVA/135kW | No. | 1
7.2.4 | Automatic Main Fails Switch-over Panel (1 Phase)
The complete supply and installation of AMF frame mounted complete with change-over contactors, mechanical interlocked, control unit, busbar, terminals and all material needed to complete the installation (As supplied from Generator manufature), for the following:
| a) 6KVA/6kW | No. | 1
| b) 9KVA/9kW | No. | 1
| c) 11KVA/11kW | No. | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
7.2.5 | Automatic Main Fails Switch-over Panel (3 Phase)
The complete supply and installation of AMF frame mounted complete with motorised switch, MCCB, control unit, busbar, terminals and all material needed to complete the installation (As supplied from Generator manufature), for the following:
| a) 18KVA/14.14kW | No. | 1
| b) 22KVA/17.6kW | No. | 1
| c) 44KVA/35kW | No. | 1
| d) 65KVA/53kW | No. | 1
| e) 88KVA/70.4kW | No. | 1
| f) 165KVA/135kW | No. | 1
7.2.6 | Diesel Fuel
| The supply and fill of fuel tank with Diesel, as specified. | lt | 1
7.2.7 | Generator Earth
| The supply and installation of Generator LV-earthing, with 6m long, 35mm² BCEW, connected to Gen earth, supply cable and one 1.5m earth spikes complete with Lugs, bolts, nuts, washers, clamps and the excavation with equipment needed to complete the installation. | No. | 1
7.2.8 | Testing, Inspection and Commissioning
After installation is complete, test and commission of installation. Contractor to allow for factory and site inspections all travelling to commission and handover. As part of the testing to provided the topped-up diesel fuel after tests and commissioning. Supply maintenance and operational manual and electrical diagram drawings of the following Gen set.
| a) Supply all inspections, test and commissioning equipment to commission and handover the single Phase to the client. | No. | 1
| b) Supply all inspections, test and commissioning equipment to commission and handover the Three Phase to the client. | No. | 1
| c) The provision and delivery of a dummy load 6 - 11kWatt as part of the testing and commissioning to verify full load capacity. | No. | 1
| d) The provision and delivery of a dummy load 18 - 44kWatt as part of the testing and commissioning to verify full load capacity. | No. | 1
| e) The provision and delivery of a dummy load 88 - 165kWatt as part of the testing and commissioning to verify full load capacity. | No. | 1
TOTAL CARRIED FORWARD TO SUMMARY
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
SCHEDULE 8: PUMPS
8.1 | POSITIVE DISPLACEMENT PUMPS
8.1.1 | Supply and delivery of heads and positive displacement pumps complete with pulleys between 190 mm and 460mm in size for the following duty points (all pumps with a maximum of 1500 Rpm):
Manufacturer: Mono (or similar approved)
| a) BP 2 LM | No. | 1
| b) BP 2 M | No. | 1
| c) BP 2 MH | No. | 1
| d) BP 3 LM | No. | 1
| e) BP 3 MH | No. | 1
| f) BP 4 H | No. | 1
| g) BP 4 L | No. | 1
| h) BP 4 M | No. | 1
| i) BP 6 H | No. | 1
| j) BP 6 L | No. | 1
| k) BP 6 M | No. | 1
| l) BP 9 H | No. | 1
| m) BP 9 L | No. | 1
| n) BP 9 M | No. | 1
| o) BP 12 L | No. | 1
| p) BP 12 M | No. | 1
| q) BP 12 H | No. | 1
| r) BP 16 H | No. | 1
| s) BP 16 L | No. | 1
| t) BP 16 M | No. | 1
| u) BP 22 L | No. | 1
| v) BP 22 M | No. | 1
| w) BP 23 L | No. | 1
| x) BP 23 M | No. | 1
| y) BP 23 H | No. | 1
| z) BP 30 H | No. | 1
| Aa) BP 30 L | No. | 1
| Bb) BP 30 M | No. | 1
| Cc) BP 40 L | No. | 1
| Dd) BP 40 M | No. | 1
| Ee) BP 50 M | No. | 1
| Ff) BP 65 L | No. | 1
| Gg) BP 85 M | No. | 1
| Hh) BP 105 M | No. | 1
8.1.2 | Installation and commissioning of positive displacement pump heads and pumps complete with pulleys between 190 mm and 460 mm in size:
| a) BP 2 LM | No. | 1
| b) BP 2 M | No. | 1
| c) BP 2 MH | No. | 1
| d) BP 3 LM | No. | 1
| e) BP 3 MH | No. | 1
| f) BP 4 H | No. | 1
TOTAL CARRIED FORWARD TO SUMMARY
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
| g) BP 4 L | No. | 1
| h) BP 4 M | No. | 1
| i) BP 6 H | No. | 1
| j) BP 6 L | No. | 1
| k) BP 6 M | No. | 1
| l) BP 9 H | No. | 1
| m) BP 9 L | No. | 1
| n) BP 9 M | No. | 1
| o) BP 12 M | No. | 1
| p) BP 12 H | No. | 1
| q) BP 16 H | No. | 1
| r) BP 16 L | No. | 1
| s) BP 16 M | No. | 1
| t) BP 22 L | No. | 1
| u) BP 22 M | No. | 1
| v) BP 30 H | No. | 1
| w) BP 30 L | No. | 1
| x) BP 30 M | No. | 1
| y) BP 40 L | No. | 1
| z) BP 40 M | No. | 1
| aa) BP 50 M | No. | 1
| bb) BP 65 L | No. | 1
| cc) BP 85 M | No. | 1
| dd) BP 105 M | No. | 1
8.2 | BOREHOLE COLUMN PIPES
Supply and installation of column pipes, shafts, bearings, stabilisers, for boreholes 150 mm diameter :
| a) 50 mm Ø piping | m | 1
| b) 65 mm Ø piping | m | 1
| c) 80 mm Ø piping | m | 1
| d) 100 mm Ø piping | m | 1
8.3 | SUBMERSIBLE PUMPS
8.3.1 | Supply and delivery of centrifugal submersible pumps with installation and adequate lightning protection for the following duty points:
| a) Head = 33m Flow = 1,6m³/h | No. | 1
| b) Head = 47m Flow = 1,6m³/h | No. | 1
| c) Head = 98m Flow = 1,6m³/h | No. | 1
| d) Head = 148m Flow = 1,6m³/h | No. | 1
| e) Head = 35m Flow = 2,8m³/h | No. | 1
| f) Head = 70m Flow = 2,8m³/h | No. | 1
| g) Head = 140m Flow = 2,8m³/h | No. | 1
| h) Head = 38m Flow = 4,8m³/h | No. | 1
| i) Head = 40m Flow = 4,8m³/h | No. | 1
| j) Head = 80m Flow = 4,8m³/h | No. | 1
| k) Head = 100m Flow = 4,8m³/h | No. | 1
| l) Head = 40m Flow = 9,0m³/h | No. | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
| m) Head = 55m Flow = 9,0m³/h | No. | 1
| n) Head = 105m Flow = 9,0m³/h | No. | 1
8.3.2 | Installation and commissioning of centrifugal submersible pumps of manufacturer in Item 8.4.11.
| a) Head = 33m Flow = 1,6m³/h | No. | 1
| b) Head = 47m Flow = 1,6m³/h | No. | 1
| c) Head = 98m Flow = 1,6m³/h | No. | 1
| d) Head = 148m Flow = 1,6m³/h | No. | 1
| e) Head = 35m Flow = 2,8m³/h | No. | 1
| f) Head = 70m Flow = 2,8m³/h | No. | 1
| g) Head = 140m Flow = 2,8m³/h | No. | 1
| h) Head = 38m Flow = 4,8m³/h | No. | 1
| i) Head = 40m Flow = 4,8m³/h | No. | 1
| j) Head = 80m Flow = 4,8m³/h | No. | 1
| k) Head = 100m Flow = 4,8m³/h | No. | 1
| l) Head = 40m Flow = 9,0m³/h | No. | 1
| m) Head = 55m Flow = 9,0m³/h | No. | 1
| n) Head = 105m Flow = 9,0m³/h | No. | 1
8.4 | Supply, delivery, installation and commissioning of submersible pump pipework (HDPE/10) and nylon rope for :
| a) 40 mm HDPE | m | 1
| b) 50 mm HDPE | m | 1
| c) 65 mm HDPE | m | 1
8.5 | COMPLETE SUPPLY, DELIVERY & INSTALLATION OF:
8.5.1 | Baseplates
| a) 40mm | No. | 1
| b) 50 mm | No. | 1
| c) 65 mm | No. | 1
8.5.2 | Servicing of Waste Water Pumps
8.5.2.1 | Supply and Installation of serving items for Waste Water Gorman Rupp T2 or Similar :
| a) Rotataing Assemby | No. | 1
| b) Bearing assembly | No. | 1
| c) Wear place | No. | 1
| d) Back cover | No. | 1
| e) Mechanical seal | No. | 1
| f) O Rings | No. | 1
| g) Shimsets | No. | 1
| h) Impellors | No. | 1
| i) Shaft | No. | 1
| j) Suction Check Valve | No. | 1
| k) Air Release Valve | No. | 1
| l) Casing Drain Plug | No. | 1
| m) Flange Gasket | No. | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
8.5.2.2 | Supply and Installation of serving items for Waste Water Gorman Rupp T4 or Similar :
| a) Rotataing Assemby | No. | 1
| b) Bearing assembly | No. | 1
| c) Wear place | No. | 1
| d) Back cover | No. | 1
| e) Mechanical seal | No. | 1
| f) O Rings | No. | 1
| g) Shimsets | No. | 1
| h) Impellors | No. | 1
| i) Shaft | No. | 1
| j) Suction Check Valve | No. | 1
| k) Air Release Valve | No. | 1
| l) Casing Drain Plug | No. | 1
| m) Flange Gasket | No. | 1
8.5.2.3 | Supply and Installation of serving items for Waste Water Gorman Rupp T6 or Similar :
| a) Rotataing Assemby | No. | 1
| b) Bearing assembly | No. | 1
| c) Wear place | No. | 1
| d) Back cover | No. | 1
| e) Mechanical seal | No. | 1
| f) O Rings | No. | 1
| g) Shimsets | No. | 1
| h) Impellors | No. | 1
| i) Shaft | No. | 1
| j) Suction Check Valve | No. | 1
| k) Air Release Valve | No. | 1
| l) Casing Drain Plug | No. | 1
| m) Flange Gasket | No. | 1
8.5.2.4 | Supply and Installation of serving items for Waste Water Gorman Rupp T8 or Similar :
| a) Rotataing Assemby | No. | 1
| b) Bearing assembly | No. | 1
| c) Wear place | No. | 1
| d) Back cover | No. | 1
| e) Mechanical seal | No. | 1
| f) O Rings | No. | 1
| g) Shimsets | No. | 1
| h) Impellors | No. | 1
| i) Shaft | No. | 1
| j) Suction Check Valve | No. | 1
| k) Air Release Valve | No. | 1
| l) Casing Drain Plug | No. | 1
| m) Flange Gasket | No. | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
8.6 | ELECTRICAL MOTORS
8.6.1 | Megger Testing of electric motors between phases and between phase and frame (earth) & report findings to Department.Note: Rates to be inclusive of labour & materials.Transport measured seperately
8.6.2 | Disconnection and removal of existing electric motors and placing in store of Department or delivery to position required by Department for:
| a) Motors of 1 up to 5Kw TEFC, foot mounted or flange mounted | No. | 1
| b) Motors of 5.5 up to 7 Kw TEFC, foot mounted or flange mounted | No. | 1
| c) Motors of 11 up to 18 Kw TEFC, foot mounted orflange mounted | No. | 1
| d) Motors of 22 up to 37 Kw TEFC, foot mounted or flange mounted | No. | 1
| e) Motors of 45 up to 75 kw TEFC, foot mounted or flange mounted | No. | 1
| f) Up to 110 kW TEFC, foot mounted or flange mounted | No. | 1
| g) Up to 160 kw TEFC, foot mounted or flange mounted | No. | 1
| h) Up to 200 kw TEFC, foot mounted or flange mounted | No. | 1
| i) Up to 260 kw TEFC, foot mounted or flange mounted | No. | 1
| j) Up to 220 kw TEFC, foot mounted or flange mounted | No. | 1
8.6.3 | Complete refurbishment of motor and replacement of bearings and rewinding
| a) Motors of 1 up to 5Kw TEFC, foot mounted or flange mounted | No. | 1
| b) Motors of 5.5 up to 7 Kw TEFC, foot mounted or flange mounted | No. | 1
| c) Motors of 11 up to 18 Kw TEFC, foot mounted orflange mounted | No. | 1
| d) Motors of 22 up to 37 Kw TEFC, foot mounted or flange mounted | No. | 1
| e) Motors of 45 up to 75 kw TEFC, foot mounted or flange mounted | No. | 1
| f) Up to 110 kW TEFC, foot mounted or flange mounted | No. | 1
| g) Up to 160 kw TEFC, foot mounted or flange mounted | No. | 1
| h) Up to 200 kw TEFC, foot mounted or flange mounted | No. | 1
| i) Up to 260 kw TEFC, foot mounted or flange mounted | No. | 1
| j) Up to 220 kw TEFC, foot mounted or flange mounted | No. | 1
8.6.4 | Supply and Installation of motors Totally Enclosed Fan Cooled
| a) Motors of 1 up to 5Kw TEFC, foot mounted or flange mounted | No. | 1
| b) Motors of 5.5 up to 7 Kw TEFC, foot mounted or flange mounted | No. | 1
| c) Motors of 11 up to 18 Kw TEFC, foot mounted orflange mounted | No. | 1
| d) Motors of 22 up to 37 Kw TEFC, foot mounted or flange mounted | No. | 1
| e) Motors of 45 up to 75 kw TEFC, foot mounted or flange mounted | No. | 1
| f) Up to 110 kW TEFC, foot mounted or flange mounted | No. | 1
| g) Up to 160 kw TEFC, foot mounted or flange mounted | No. | 1
| h) Up to 200 kw TEFC, foot mounted or flange mounted | No. | 1
| i) Up to 260 kw TEFC, foot mounted or flange mounted | No. | 1
| j) Up to 220 kw TEFC, foot mounted or flange mounted | No. | 1
TOTAL CARRIED FORWARD TO SUMMARY
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
SCHEDULE 9: ELECTRICAL WORK
9.1 | ELECTRICAL WORK - LV INSTALLATION
9.1.1 | ELECTRICAL WORK - SMALL & MEDIUM SIZE ELECTRICAL PANELS
The supply and installation of stranded copper cables installed in cable trenches, on cable racks or trays or fixed to steel structure.Prices to include for terminations and all fixing materials.
9.1.1.1 | Supply Armored Cable from Eskom Metering Kiosk to MCC's
| a) 6 mm² x 4 core | m | 1
| b) 10 mm² x 4 core | m | 1
| c) 16 mm² x 4 core | m | 1
9.1.1.2 | Supply Armoured Cable from MCC to Pump motor
| a) 4 mm² x 3 core | m | 1
| b) 6 mm² x 3 core | m | 1
| c) 10 mm² x 3 core | m | 1
| d) 16 mm² x 3 core | m | 1
9.1.1.3 | Control Cable from MCC to Reservoir
| a) 2.5 mm² x 4 core | m | 1
9.1.1.4 | Control Cables to Protection Instruments
| a) 1.5 mm² x 3 core | m | 1
8.1.2 | EARTH CONDUCTORS
8.1.2.1 | The supply and installation of bare stranded copper conductors installed in the same route as the cables including terminations
| a) 4 mm² | m | 1
| b) 6 mm² | m | 1
| c) 10 mm² | m | 1
| d) 16 mm² | m | 1
| e) 70 mm² | m | 1
| f) The supply and installation of a 1.5m Earth rod with clamps | No. | 1
9.1.3 | CABLE TRENCH EXCAVATION
Excavations of cable trenches, bedding, backfilling compacting and making good of cable trenches in:
| a) Soft excavation 0-1 m deep | m³ | 1
| b) Extra over (for intermediate excavation) | m³ | 1
| c) Extra over ( for hardrock excavation | m³ | 1
9.1.4 | MOTOR CONTROL CENTRES
TYPE ONE
Supply, delivery, installation and commissioning of the following distribution boards/MCC's, complete with all telemetry, plc equipment, internal wiring, labels etc. as specified and shown on drawings including earth and conduit terminations but excluding cable terminations. Including fixing materials to install MCC on pedestal in pumphouse
9.1.4.1 | Single phase with D.O.L. starting
| a) 1,1 kW | No | 1
| b) 1,5 kW | No | 1
| c) 2,2 kW | No | 1
| d) 3,0 kW | No | 1
9.1.4.2 | Three phase with D.O.L. starting
| a) 2,2 kW | No | 1
| b) 3,0 kW | No | 1
| c) 4,0 kW | No | 1
| d) 5,5 kW | No | 1
| e) 7,5 kW | No | 1
| f) 11,0 kW | No | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
9.1.4.3 | Three phase with star-delta starting
| a) 15,0 kW | No | 1
| b) 18,5 kW | No | 1
| c) 22 kW | No | 1
TYPE TWO
Supply and installation of MCC's complete with all equipment, internal wiring, labels,protection equipment and earthing for the following kW ratings. Including fixing materials to install MCC on pedestal in pumphouse.
9.1.4.4 | Single phase with D.O.L starting
| a) 1,1 kW | No. | 1
| b) 1,5 kW | No. | 1
| c) 2,2 kW | No. | 1
| d) 3,0 kW | No. | 1
9.1.4.5 | Three phase with D.O.L starting
| a) 2,2 kW | No. | 1
| b) 3,0 kW | No. | 1
| c) 4,0 kW | No. | 1
| d) 5,5 kW | No. | 1
| e) 7,5 kW | No. | 1
| f) 11,0 kW | No | 1
9.1.4.6 | Three phase with star-delta starting
| a) 15,0 kW | No. | 1
| b) 18,5 kW | No. | 1
| c) 22,0 kW | No. | 1
9.1.5 | LOCKS
| a) Supply and installation of No. 2 locks. | No | 1
9.1.6 | GENERAL ELECTRICAL INSTALLATION
9.1.6.1 | Conduit
The supply and installation of heavy gauge galvanised conduit complete with draw boxes and accessories surface mounted.
| i) 20mm dia | m | 1
| ii) 25mm dia | m | 1
9.1.6.2 | Conductors and Earth Conductors
The supply and installation of PVC insulated copper conductors drawn into conduit.
| i) 2,5mm.sq PVC wire | m | 1
| ii) 2,5mm.sq earth conductor | m | 1
9.1.6.3 | Light Switches
The supply and installation industrial type, surface mounted light switches complete with outlet boxes.
| i) 16A, one lever, one way, waterproof light switch | No | 1
9.1.6.4 | Luminaries
The supply and installation of 1500mm fluorescent waterproof light fitting including lamps, control gear and fixing materials as specified.
9.1.6.4.1 | a)Fluorescent 1500mm light fitting | No | 1
9.1.6.4.2 | b) Repacing of Flood lights with 100W outdoor LED fixtures for Reservoir, Pumpstations and Treatment Plant | No | 1
9.1.6.5 | Flow Switches
The supply and installation of Flow Switches installed in steel pipe.The rate shall include for reduction of pipe work where required.
9.1.6.5.1 | Flow Switch | No. | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
9.1.7 | GENERAL
Installation of Contactors and Components
9.1.7.1 | Supply, installation, connection, testing and commissioning of the following equipment for distribution boards or motor controls
9.1.7.1.1 | Complete new contactor for:
| (a) 4 to 5,5kW AC-3 rating contactor | No. | 1
| (b) 7.5 to 11kW AC-3 rating contactor | No. | 1
| (c) 11 to 15kW AC-3 rating contactor | No. | 1
| (d) 18.5 kW AC-3 rating contactor | No. | 1
| (e) 22 kW AC-3 rating contactor | No. | 1
| (f) 30 kW AC-3 rating contactor | No. | 1
| (g) 37 kW AC-3 rating contactor | No. | 1
| (h) 45 kW AC-3 rating contactor | No. | 1
| (i) 55 kW AC-3 rating contactor | No. | 1
| (j) 75 kW AC-3 rating contactor | No. | 1
| (k) 90 kW AC-3 rating contactor | No. | 1
| (l) 110 kW AC-3 rating contactor | No. | 1
| (m) 132 kW AC-3 rating contactor | No. | 1
| (n) 150 kW AC-3 rating contactor | No. | 1
| (o) 185 kW AC-3 rating contactor | No. | 1
| (p) 220 kW AC-3 rating contactor | No. | 1
Installation of Standard Adjustibnle Overloads
9.1.7.2 | Supply, installation, connection, testing and commissioning of the following adjustable (standard electronic) motor overloads for motor controls
| (a) 0,1 - 1A. | No. | 1
| (b)1,6-5A | No. | 1
| (c)12- 32 A | No. | 1
| (d) 14 - 45A | No. | 1
| (e) 23- 75A | No. | 1
| (f) 60 - 85A | No. | 1
9.1.7.3 | Replacing star-delta timer for star-delta starters as follows: (per unit)
| (a) Electronic type | No. | 1
| (b) Magnetic type | No. | 1
| (c) Vacuum type | No. | 1
TOTAL CARRIED TO SUMMARY FORWARD
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
SCHEDULE 10: WATER & WASTE WATER MEDIA
10.1 | MEDIUM GRAVITY SAND FILTERS
10.1.1 | Assess flow rates and backwash capability and submit report PANELS | No. | 1
10.1.2 | Top up of existing media | m³ | 1
10.1.3 | Remove existing old media and dispose | No. | 1
10.1.4 | Remove and replace plastic filter nozzles | No. | 1
10.1.5 | Remove and replace 100mm uPVC laterals including end caps n.e. 3m long | No. | 1
10.1.6 | Supply deliver and install filter media 0.5mm and up to 10mm Silica Sand and Pebbles | m³ | 1
10.1.7 | Replace corroded copper pipes and fittings and valves(15mm) | No. | 1
10.1.8 | Replace manual needle control valve | No. | 1
10.1.9 | Replace remote control needle valve | No. | 1
10.1.10 | Replace stainless steel control cable | No. | 1
10.1.11 | Replace diaphram Valves 250mm | No. | 1
10.1.12 | Replace floats with new mountings | No. | 1
10.1.13 | Mark-up rates
10.1.13.1 | Percentage mark up on all unforseen items (materials only). Labour , plant, transport will be based on rates under operation and maintenance | %
10.2 | Sewer
10.2.1 | Biofilter : Filter Media Works
10.2.1.1 | Provision and operation of temporary influent bypass pumping system (approx. 14-day duration) | Sum | 1
10.2.1.2 | Removing of filter media | m³ | 1
10.2.1.3 | Desludging and high-pressure washing of the filter bed floor prior to works | m³ | 1
10.2.1.4 | Chipping, structural concrete crack injection, and spalling repair on internal tank walls | m² | 1
10.2.1.5 | High-pressure water jetting and clear-out of the underdrain drainage channels | m² | 1
10.2.1.6 | Extraction, mechanical handling, and off-site disposal of old fouled/degraded filter media | m³ | 1
10.2.1.7 | Supply of new high-efficiency structured plastic media (19 -100 mm stone media) | m³ | 1
10.2.1.8 | Installation, structural layering, and levelling of new media inside the filter tank | m³ | 1
10.2.1.9 | Unblocking of filter media to avoid ponding | m³ | 1
10.3 | Mechanical
10.3.1 | Crane hire, stripping, refurbishment, and realignment of the rotary distributor assembly | sum | 1
10.3.2 | Supply and replacement of central column mechanical seals and heavy-duty bearings | Set | 1
10.3.3 | Supply and installation of adjustable, non-clogging plastic/brass distribution spray nozzles | No. | 1
10.3.4 | Mechanical Screens (chain, motor , metal screen,)
TOTAL CARRIED TO SUMMARY
SECTION | DESCRIPTION |  |  |  | AMOUNT
1 | SCHEDULE 1: DAYWORKS
2 | SCHEDULE 02: WATER NETWORK MAINTENANCE
3 | SCHEDULE 03: VALVE CHAMBER MAINTENANCE
4 | SCHEDULE 04: RESERVOIR MAINTENANCE
5 | SCHEDULE 05: MUNICIPAL SEWER BLOCKAGE CLEARING & PIPE REPAIR
6 | SCHEDULE 06: MANHOLE REBUILDING & BENCHING RECONSTRUCTION
7 | SCHEDULE 7: DIESEL ENGINES AND GENERATORS
8 | SCHEDULE 8: PUMPS
9 | SCHEDULE 9: ELECTRICAL WORK
10 | SCHEDULE 10: WATER & WASTE WATER MEDIA
SUB-TOTAL OF SCHEDULES (Excluding VAT): |  |  |  |  | 0
VALUE ADDED TAX AMOUNT (15%): |  |  |  |  | 0
GRAND TOTAL CARRIED TO FORM OF TENDER (Including VAT): |  |  |  |  | 0
Indicate mark-up on spares percentage |  |  |  |  | %
PLEASE NOTE THAT:
The successful bidder must provide quotations for approval prior to the purchase of material.
The prices escalation shall be calculated as per CPI price adjustment at the anniversary of the contract.